Fire Hazard Assessment Report

Offenses to address:

- Dangling Power Extension Cords.

| Refrigerators & Microwave | iMac |
| --- | --- |

- Non-Compliant Outlet Strips. Must have surge protection.